## Electrical Data Sheet
SUPPORT SERVICES DEPARTMENT
(Office of the Building Official)
ELECTRICAL DATA SHEETS
Please provide all information required
Company |  | :
Project Title |  | :
(PEZA Reg. Name) |  | :
PEZA Reg. No. |  | :
Location/Zone |  | :
Contractor |  | :
PCAB Lic. No. |  | :
Type of Application |  | : |  | Electrical Permit |  | Permit to Operate
QUANTITIES |  |  | DESCRIPTION / DETAILS
| unit/s | - | 1x40 W / 1x20 W., Lighting Fixture |  |  |  | @ | P | 0.8 | = | P | 0
| unit/s | - | 2x40 W / 2x20 W., Lighting Fixture |  |  |  | @ |  | 1.6 | = |  | 0
| unit/s | - | 3x40 W / 3x20 W., Lighting Fixture |  |  |  | @ |  | 2.4 | = |  | 0
| unit/s | - | 4x40 W / 4x20 W., Lighting Fixture |  |  |  | @ |  | 3.2 | = |  | 0
| unit/s | - |  | (rating) | Mercury Vapor Lamp
| unit/s | - |  | (rating) | Perimeter Light |  | @ |  | 10 | = |  | 0
| unit/s | - |  | (rating) | Street Pole Light |  | @ |  | 10 | = |  | 0
| unit/s | - |  | (rating) | Highbay Light |  | @ |  | 10 | = |  | 0
| unit/s | - |  | (rating) | Lowbay Light |  | @ |  | 4 | = |  | 0
| unit/s | - |  | (rating) | Bracket Light |  | @ |  | 4 | = |  | 0
| unit/s | - |  | (rating) | Flood Light |  | @ |  | 4 | = |  | 0
| unit/s | - | Fixture w/ Charging Rectifier |  |  |  | @ |  | 10 | = |  | 0
| unit/s | - | Incandescent/Pinlights |  |  |  | @ |  | 0.8 | = |  | 0
| unit/s | - | Emergency Light |  |  |  | @ |  | 10 | = |  | 0
| unit/s | - | Exit Light |  |  |  | @ |  | 10 | = |  | 0
| unit/s | - | Remote Control Master Switch/Switch Bank |  |  |  | @ |  | 20 | = |  | 0
| unit/s | - | Timer Switches/Relays |  |  |  | @ |  | 2 | = |  | 0
| unit/s | - | 1gang, Light Switches |  |  |  | @ |  | 0.8 | = |  | 0
| unit/s | - | 2gang, Light Switches |  |  |  | @ |  | 1.6 | = |  | 0
| unit/s | - | 3gang, Light Switches |  |  |  | @ |  | 2.4 | = |  | 0
| unit/s | - | 3-way, Light Switches
| unit/s | - | Convenience Outlet/Receptacle |  |  |  | @ |  | 0.8 | = |  | 0
| unit/s | - | Special Purpose Outlet/Twistlock |  |  |  | @ |  | 2 | = |  | 0
| unit/s | - | Battery Charging Rectifier |  |  |  | @ |  | 10 | = |  | 0
| unit/s | - | Electric Welding Machine |  |  |  | @ |  | 10 | = |  | 0
| unit/s | - | kWHR. Meter |  |  |  | @ |  | 40 | = |  | 0
| unit/s | - | Fixed Type Electric Fan |  |  |  | @ |  | 2 | = |  | 0
| unit/s | - | Electric Typewriter |  |  |  | @ |  | 2 | = |  | 0
| unit/s | - | Refrigerator |  |  |  | @ |  | 4 | = |  | 0
| unit/s | - | Freezer |  |  |  | @ |  | 4 | = |  | 0
| unit/s | - | Washing Machine |  |  |  | @ |  | 4 | = |  | 0
| unit/s | - | Hand Dryer |  |  |  | @ |  | 4 | = |  | 0
| unit/s | - | Dryer |  |  |  | @ |  | 4 | = |  | 0
Automatic Voltage Regulator (A.V.R.) in kW or kVA
| unit/s | - |  | (Rating) A.V.R. |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) A.V.R. |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) A.V.R. |  |  | @ |  |  | = |  | 0
Uninterrupted Power Supply (U.P.S.) in kW or kVA
| unit/s | - |  | (Rating) U.P.S.
| unit/s | - |  | (Rating) U.P.S.
| unit/s | - |  | (Rating) U.P.S.
Capacitors/Capacitor Banks in kVAR
| unit/s | - |  | (Rating) Capacitor |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Capacitor |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Capacitor |  |  | @ |  |  | = |  | 0
Transformers (Oil Immersed/Dry Type) in kVA
| unit/s | - |  | (Rating) Transformer (Oil Immersed) |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Transformer (Oil Immersed) |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Transformer (Oil Immersed) |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Transformer (Oil Immersed) |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Transformer (Oil Immersed) |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Transformer (Dry Type) |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Transformer (Dry Type) |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Transformer (Dry Type) |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Transformer (Dry Type) |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Transformer (Dry Type) |  |  | @ |  |  | = |  | 0
Generator Set (Continuous Operation) in kW or kVA
| unit/s | - |  | (Rating) Generator Set |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Generator Set |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Generator Set |  |  | @ |  |  | = |  | 0
Generator Set (Stand by) in kW or kVA
| unit/s | - |  | (Rating) Generator Set |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Generator Set |  |  | @ |  |  | = |  | 0
| unit/s | - |  | (Rating) Generator Set |  |  | @ |  |  | = |  | 0
CIRCUIT BREAKER / DISCONNECTING MEANS :
| unit/s | - | 5000 | Amp. |  |  | @ |  | 102 | = |  | 0
| unit/s | - | 4000 | Amp. |  |  | @ |  | 82 | = |  | 0
| unit/s | - | 3200 | Amp. |  |  | @ |  | 66 | = |  | 0
| unit/s | - | 3000 | Amp. |  |  | @ |  | 62 | = |  | 0
| unit/s | - | 2500 | Amp. |  |  | @ |  | 52 | = |  | 0
| unit/s | - | 2000 | Amp. |  |  | @ |  | 42 | = |  | 0
| unit/s | - | 1800 | Amp. |  |  | @ |  | 38 | = |  | 0
| unit/s | - | 1600 | Amp. |  |  | @ |  | 34 | = |  | 0
| unit/s | - | 1500 | Amp. |  |  | @ |  | 32 | = |  | 0
| unit/s | - | 1250 | Amp. |  |  | @ |  | 27 | = |  | 0
| unit/s | - | 1200 | Amp. |  |  | @ |  | 26 | = |  | 0
| unit/s | - | 1000 | Amp. |  |  | @ |  | 22 | = |  | 0
| unit/s | - | 800 | Amp. |  |  | @ |  | 18 | = |  | 0
| unit/s | - | 700 | Amp. |  |  | @ |  | 16 | = |  | 0
| unit/s | - | 630 | Amp. |  |  | @ |  | 15 | = |  | 0
| unit/s | - | 600 | Amp. |  |  | @ |  | 14 | = |  | 0
| unit/s | - | 500 | Amp. |  |  | @ |  | 12 | = |  | 0
| unit/s | - | 450 | Amp. |  |  | @ |  | 11 | = |  | 0
| unit/s | - | 400 | Amp. |  |  | @ |  | 10 | = |  | 0
| unit/s | - | 350 | Amp. |  |  | @ |  | 9 | = |  | 0
| unit/s | - | 300 | to 275 Amp. |  |  | @ |  | 8 | = |  | 0
| unit/s | - | 250 | to 225 Amp. |  |  | @ |  | 7 | = |  | 0
| unit/s | - | 200 | to 175 Amp. |  |  | @ |  | 6 | = |  | 0
| unit/s | - | 150 | to 125 Amp. |  |  | @ |  | 5 | = |  | 0
| unit/s | - | 100 | to 60 Amp. |  |  | @ |  | 4 | = |  | 0
| unit/s | - | 50 | to 5 Amp. |  |  | @ |  | 2 | = |  | 0
MOTORS AND CONTROLLING APPARATUS :
| unit/s | - | Other Available Rating (_________) |  |  |  | @ |  |  | = |  | 0
| unit/s | - | Above 10 HP up to 20 HP. |  |  |  | @ |  | 20 | = |  | 0
| unit/s | - | Above 5 HP up to 10 HP. |  |  |  | @ |  | 12 | = |  | 0
| unit/s | - | Above 1 HP up to 5 HP. |  |  |  | @ |  | 8 | = |  | 0
| unit/s | - | Above ¼ HP up to 1 HP. |  |  |  | @ |  | 6 | = |  | 0
| unit/s | - | Up to ¼ HP. |  |  |  | @ |  | 4 | = |  | 0
Prepared by :
(Signature over Printed Name)
Prof. Electrical Engineer
PRC Lic. No. | [5 empty] | Acknowledged :
(Signature over Printed Name)
OWNER or
Authorized Representative
REMINDER :
1. Only applications with complete plans and documents will be processed.
2. For electrical equipment/devices to be installed/operated but not listed in this form should also be
included in the data sheet, use another sheet with the same format and information.
3. All electrical equipment/devices not declared but found installed during inspection will be
subject to 100% Surcharge and Admibnistrative Fine.
[11 empty] | P | 0
0
[11 empty] | P | 0