## Final11-8-18
PROJECT | : PROPOSED SEWER PIPE LINE REHABILITATION ALONG 5TH STREET AND CONSTRUCTION OF
LIFT STATIONS 1 AND 2 IN MEZ
LOCATION | : MACTAN ECONOMIC ZONE, LAPU-LAPU CITY
Date | :
DETAILED COST ESTIMATES
CODE/ ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT COST | TOTAL COST | REMARKS
SEWERAGE SYSTEM
I. | GENERAL REQUIREMENTS |  |  |  | 0
I.A | Facilities for the Engineer (Testing Materials) | lot | 1
A | Materials
For filling materials:
| Sieve analysis | test | 1 |  | 0
| Atterberg Limit | test | 1 |  | 0
| Soil Classification | test | 1 |  | 0
| Maximum Dry Density | test | 1 |  | 0
| For Field Density Test: |  |  |  | 0
| Test Hole | hole | 35 |  | 0
| Maximum Dry Density (MDD) | test | 35 |  | 0
| For Subbase and Base Course |  |  |  | 0
| Sieve Analysis | test | 1 |  | 0
| Atterberg Limit | test | 1 |  | 0
| Soil Classification | test | 1 |  | 0
| Abrasion | test | 1 |  | 0
| Maximum Dry Density | test | 1 |  | 0
| Laboratory CBR | test | 1 |  | 0
| Concrete Design Mix | test | 3 |  | 0
| For Sand and Gravel Sampling |  |  |  | 0
| Grading/Sieve Analysis | test | 1 |  | 0
| Materials Finer than 200 Sieve | test | 1 |  | 0
| Specific Gravity | test | 1 |  | 0
| Organic Impurities | test | 1 |  | 0
| Soundness Unit weight | test | 1 |  | 0
| Finess Modulus | test | 1 |  | 0
| Clay Thumbs | test | 1 |  | 0
| For Concrete |  |  |  | 0
| Compression Test of Conc. Cylinder Samples | test | 4 |  | 0
| For Cement (Physical and Chemical Test) | test | 4 |  | 0
| For Steel |  |  |  | 0
| Reinfoecing Steel (Mech Properties & Deformation) |  |  |  | 0
| 10mm dia. To 20mm dia. | test | 4 |  | 0
0
B | Equipment Rental @ 8 hrs/day
C | Labor
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
I.B | Mobilization/ Demobilization | lot | 1 |  | 0
II. | REMOVAL AND RESTORATION WORKS |  |  |  | 0
II.A | DEMOLITION AND REMOVAL WORKS
0232 (5)a | Removal of Exisitng Concrete Sidewalk (affected by construction of sewer lines) | sq.m | 561.75
A | Materials
B | Equipment Rental @ 8 hrs/day
| Loader, Wheel Type, CAT, 1.91 cu.m, 110 Hp | 28 | hrs |  | 0
| Backhoe, CM Hyd. CAT, 1.15 cu.m., 148 HP | 28 | hrs |  | 0
| Minor tools (5% of Labor) | 1 | lot |  | 0
0
C | Labor
| 1- Foreman | 28 | hrs |  | 0
| 4- Laborer | 28 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
0232(5)b | Removal of Existing Concrete Pavement (affected by construction of sewer lines) | cu.m | 1.5 |  | 0
A | Materials
B | Equipment Rental @ 8 hrs/day
| Loader, Wheel Type, CAT, 1.91 cu.m, 110 Hp | 1 | hrs |  | 0
| Backhoe, CM Hyd. CAT, 1.15 cu.m., 148 HP | 1 | hrs |  | 0
| Minor rools (5% of Labor) | 1 | lot |  | 0
0
C | Labor
| 1- Foreman | 1 | hrs |  | 0
| 4- Laborer | 1 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
0232(8)a | Disposal of Debris (Removed Concrete Sidewalk and Asphalt Concrete) | cu.m | 56.18
A | Materials
B | Equipment Rental @ 8 hrs/day
| 10- Dump Truck, 12-15 cu.m yd., 290 Hp | 1 | hrs |  | 0
| Backhoe, CM Hyd. CAT, 1.15 cu.m., 148 HP | 1 | hrs |  | 0
0
C | Labor
| 3- Laborer | 1 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
II.B | RESTORATION WORKS
Scopes of Work
0226(1)a | Subgrade Preparation | sq.m | 4.9
A | Materials
B | Equipment Rental @ 8 hrs/day
| CA511D, Vib. Roller, Dynapac, 15.25 MT., 155 Hp | 0.5 | hr. |  | 0
| 120 G, Graders, Motorized CAT, 125 HP | 0.5 | hr. |  | 0
| Water Truck Wagon/Pump 1001- 3000 gals. | 0.5 | hr. |  | 0
0
C | Labor
| 1- Foreman | 0.5 | hr |  | 0
| 2- Laborer | 0.5 | hr |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02721(1)a | Aggregate Subbbase Course | cu.m | 0.98
A | Materials
| Subbase Course | 0.98 | cu.m |  | 0
B | Equipment Rental @ 8 hrs/day
| 120 G, Graders, Motorized CAT, 125 HP | 0.5 | hr |  | 0
| CA25, Vib. Roller, Dynapac, 10.00 M.T., 125 HP | 0.5 | hr |  | 0
| Water Truck Wagon/Pump 1001- 3000 gals. | 0.5 | hr |  | 0
| Minor tools (10% of Labor) |  |  |  | 0
C | Labor
| Foreman | 0.5 | hr |  | 0
| 2- Laborer | 0.5 | hr |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02721(2)a | Gravel Bedding (along sidewalk) | cu.m | 56.18
A | Materials
| Crushed Aggregate, 3/4" | 56.18 | cu.m |  | 0
B | Equipment Rental @ 8 hrs/day
| Engine Driven, 135 HP, Vibratory Plate Compactor | 11.2 | hrs. |  | 0
C | Labor
| 1- Skilled Laborer | 11.2 | hrs |  | 0
| 4- Laborer/Helper | 11.2 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02722(1)a | Aggregate Base Course | cu.m | 0.74
A | Materials
02722(1)a | Base Course | 0.74 | cu.m |  | 0
B | Equipment Rental @ 8 hrs/day
02722(1)a | 120 G, Graders, Motorized CAT, 125 HP | 0.1 | hr |  | 0
| CA25, Vib. Roller, Dynapac, 10.00 M.T., 125 HP | 0.1 | hr |  | 0
| Water Truck Wagon/Pump 1001- 3000 gals. | 0.1 | hr |  | 0
| Minor tools (10% of Labor) |  |  |  | 0
C | Labor
02722(1)a | 1- Foreman | 0.1 | hrs |  | 0
| 2- Laborer | 0.1 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02770(1)a | Concrete Sidewalk, Plain, 100 mm thk. | sq.m | 561.75
A | Materials
| Rough Lumber | 258.405 | bdft |  | 0
| Common Wire Nails | 5.0557 | kgs |  | 0
| Ready Mix Plain Concrete, 3000 psi, | 58.9838 | cu.m |  | 0
0
B | Equipment Rental @ 8 hrs/day
| 2- Concrete Vibrator, 32mm Head Dia., Gas or Electric Driven | 16.5 | hrs |  | 0
C | Labor
| 1- Foreman | 16.5 | hrs |  | 0
| 3- Skilled Laborer | 16.5 | hrs |  | 0
| 4- Laborer/Helper | 16.5 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
Conc. Pavement | Concrete Pavement (Road Crossing) | cu.m | 1.5
A | Materials
| Ready Mix Plain Concrete, 3000 psi | 1.5 | cu.m |  | 0
B | Equipment Rental @ 8 hrs/day
| 2- Concrete Vibrator, 32mm Head Dia., Gas or Electric Driven | 0.5 | hrs |  | 0
C | Labor
| 1- Foreman | 0.5 | hrs |  | 0
| 3- Skilled Laborer | 0.5 | hrs |  | 0
| 4- Laborer/Helper | 0.5 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02742(1)a | Bituminous Concrete Srface Course, Hot Laid, 100mm | sq.m | 4.9
A | Materials
02742(1)a | Ready Mix Hot Asphalt (delivered @ site) | 1.2 | MT |  | 0
B | Equipment Rental @ 8 hrs/day
02742(1)a | CA25, Vib. Roller, Dynapac, 10.00 M.T., 125 HP | 0.5 | hrs |  | 0
| 2- Pneumatic Tired Roller, 4-wheel, 7.5 x 15, 4 PR | 0.5 | hrs |  | 0
| DF 120 C 4.7M PAVING W/ PAVER/FINISHER, 112 Hp, Demag | 0.5 | hrs |  | 0
0
C | Labor
02742(1)a | 1- Foreman | 0.5 | hrs |  | 0
| 3- Skileed Laborer | 0.5 | hrs |  | 0
| 4- Common Laborer | 0.5 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02743(1)a | Bituminous Prime Coat | tonnes | 0.02
A | Materials
| Cutback Asphalt MC-70 | 0.02 | tonnes |  | 0
B | Equipment Rental @ 8 hrs/day
| Asphalt Distributor, Littleford Sprymaster, 1330 USG | 0.5 | hrs. |  | 0
| Air Compressor, Gas/Diesel Engine, 501-600 cfm, 179 Hp | 0.5 | hrs. |  | 0
| Power Broom | 0.5 | hrs. |  | 0
0
C | Labor
| 1- Foreman | 0.5 | hrs |  | 0
| 3- Skilled Worker | 0.5 | hrs |  | 0
| 4- Common Laborer | 0.5 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02744(1)a | Bituminous Tack Coat | tonnes | 0.01
A | Materials
02744(1)a | Emulsified Asphalt SS-1 | 0.01 | tonnes |  | 0
B | Equipment Rental @ 8 hrs/day
02744(1)a | Asphalt Distributor, Littleford Sprymaster, 1330 USG | 0.5 | hrs |  | 0
| Air Compressor, Gas/Diesel Engine, 501-600 cfm, 179 Hp | 0.5 | hrs |  | 0
| Power Broom | 0.5 | hrs |  | 0
0
C | Labor
02744(1)a | 1- Foreman | 0.5 | hrs |  | 0
| 3- Skilled Worker | 0.5 | hrs |  | 0
| 4- Common Laborer | 0.5 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
III | SEWER PIPE LINES |  |  |  | 0
III.A
02302 (1)b | Sewer Pipes Excavation (Sewer Lines)
| a. Hard Rock Excavation | cu.m | 480.35
| b. Ordinary Soil Excavation | cu.m | 610.12
A | Materials
B | Equipment Rental @ 8 hrs/day
| Large Excavator with Hydraulic Breaker, CAT 312D | 120 | hrs |  | 0
C | Labor
| 1- Foreman | 1073 | hrs |  | 0
| 2- Laborer | 1073 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02302 (2) | Placing Backfill Materials (Sewer Lines) | cu.m | 875.98
A | Materials
B | Equipment Rental @ 8 hrs/day
| Engine Driven, 13.5 HP, Vibratory Plate Compactor | 220 | hrs |  | 0
(Output= 3.98 cu.m/hr)
C | Labor
| 1- Foreman | 903 | hrs |  | 0
| 1- Laborer | 903 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02302 (3) | Foundation Fill, Sand Bedding (Sewer Lines) | cu.m | 283.9
A | Materials
| Sand (delivered to site) | 283.9 | cu.m |  | 0
B | Equipment Rental @ 8 hrs/day
| Engine Driven, 13.5 HP, Vibratory Plate Compactor | 33.4 | hrs |  | 0
C | Labor
| 1- Skilled worker | 33.4 | hrs |  | 0
| 4- Laborer | 33.4 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02302 (4) | Disposal of Excess Materials (Sewer Lines) | cu.m | 285.17
A | Materials
B | Equipment Rental @ 8 hrs/day
| 10- Dump Truck, 12-15 cu.yd., 290 Hp | 2.25 | hrs |  | 0
| 1- 916, Loader, Wheel Type, CAT 1.53 cu.m, 85 Hp | 2.25 | hrs |  | 0
0
C | Labor
| 3- Laborer | 2.25 | hrs |  | 0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02307 (2) | Concrete, Encasement (includes formworks) | cu.m | 2.3
A | Materials
| Ready Mix Plain Concrete, 3000 psi, 3/4, 4"Slump, 28 days | 2.3 | cu.m |  | 0
| Form Oil (Used Crude Oil) | 0.12 | gals |  | 0
| Rough Lumber | 26.84 | bdft |  | 0
| Plywood, Ordinary, 12mm thk. | 0.5 | pcs |  | 0
| Common Wire Nails | 0.1 | kgs |  | 0
| G.I. Tire Wire Guage #16 | 0.1 | kgs |  | 0
0
B | Equipment Rental @ 8 hrs/day
| 1- Crane TM H'draulic Telescopic 51-60 M.T., 280 Hp | 0.5 | hrs |  | 0
| 2- Concrete Vibrator, 32mm Head Dia. Gas of Elec. Driven | 0.5 | hrs |  | 0
| 1. Chainsaw, 2100CD includes blade | 0.5 | hrs |  | 0
0
C | Labor
Pouring Concrete
| 1- Foreman | 0.5 | hrs |  | 0
| 2- Skilled Laborer | 0.5 | hrs |  | 0
| 5- Common Laborer | 0.5 | hrs |  | 0
0
Formworks Fabrication and Installation
| 1- Foreman | 2 | hrs |  | 0
| 4- Skilled Laborer | 2 | hrs |  | 0
| 1- Common Laborer | 2 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02307 (3) | Reinforcing steel, Encasement | kgs | 76.05
A | Materials
| Reinforcing Steel, Grade 60 | 76.05 | kgs |  | 0
| G.I Tie Wire #16 | 1.5 | kgs |  | 0
0
B | Equipment Rental @ 8 hrs/day
| 1- Steel Hoop Bar Bender, Electric Driven, Mikuni MKC 32 | 0.5 | hrs |  | 0
| 1- Bar cutter, Electric Driven, Mikuni MK45 | 0.5 | hrs |  | 0
| Electric Consumption | 1 | hrs |  | 0
| Minor Tools (5% of Labor) | 1 | lot |  | 0
0
C | Labor
| 1- Foreman | 0.5 | hrs |  | 0
| 4- Skilled Laborer | 0.5 | hrs |  | 0
| 2- Common Laborer | 0.5 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
SUB-TOTAL
III.B | Sewer Line, Polyethelene Pipes (PE 80) SDR 33 PER ASTM D3034
02530 (1)e | Sewer Pipes, Polyethelene Pipes, 400mm dia., (PE 80) SDR 33 | l.m | 649.43
A | Materials
| Polyethylene Pipe, 400mm | 649.43 | l.m |  | 0
| Miscellaneous (3%) | 1 | lot |  | 0
0
B | Equipment Rental @ 8 hrs/day
| Butt Fusion Joint using Butt Fussin Weld. Mach (10% of Labor) | 1 | lot |  | 0
C | Labor
| 1- Foreman | 691 | hrs |  | 0
| 2- Skilled Laborer | 691 | hrs |  | 0
| 1- Common Laborer | 691 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
Sewer Force Main, Polyethelene Pipes (PE 80) SDR 13.6 PER ASTM D3034
02530 (2)d | Sewer Force Main, Polyethelene Pipe, 300mm Dia, PE 80 SDR 13.6 ( includes accessories) | l.m | 580.8
A | Materials
| Polyethylene Pipe, 300mm Dia, PE 80 SDR 13.6 | 580.8 | l.m |  | 0
| Piping Accessories | 1 | lot |  | 0
| Miscellaneous (3%) | 1 | lot |  | 0
0
B | Equipment Rental @ 8 hrs/day
| Butt Fusion Joint using Butt Fussin Weld. Mach (10% of Labor) | 1 | lot |  | 0
C | Labor
| 1- Foreman | 532 | hrs |  | 0
| 2- Skilled Laborer | 532 | hrs |  | 0
| 1- Common Laborer | 532 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
IV. | SEWER MANHOLES |  |  |  | 0
02301 (1)a | Structure Excavation (Sewer Manholes) | cu.m | 21.5
A | Materials
B | Equipment Rental @ 8 hrs/day
C | Labor
| 1- Foreman | 33.6 | hrs |  | 0
| 2- Common Laborer | 33.6 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02301 (2)a | Structural Backfill (Sewer Manholes) | cu.m | 4.11
A | Materials
B | Equipment Rental @ 8 hrs/day
| Engine Driven, 13.5 HP., Vibratory Plate Compactor | 1 | hrs |  | 0
Crew output for equipt. = 3.98cu.m/hr.
C | Labor
| 1- Foreman | 4.5 | hrs |  | 0
| 1- Common Laborer | 4.5 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02301 (3)a | Disposal Excess Materials (Sewer Manholes) | cu.m | 17.39
A | Materials
B | Equipment Rental @ 8 hrs/day
| 10- Dump Truck, 12-15 cu.yd., 290 Hp | 0.5 | hrs |  | 0
| 1- 916, Loader, Wheel Type CAT, 1.53 cu.m, 85 HP | 0.5 | hrs |  | 0
0
C | Labor
| 3- Common Laborer | 0.5 | hrs |  | 0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
03307 (4)a | Lean Concrete (Sewer Manholes) | cu.m | 1.3
A | Materials
| Ready- Mix Plain Concrete, 1500 psi, G-1, 4" Slump, 28 days | 1.3 | cu.m |  | 0
B | Equipment Rental @ 8 hrs/day
| 1- Crane TM ydraulic Telescopic 51-6 M,T., 280 hp | 0.1 | hrs |  | 0
| 2- Concrete Vibrator, 32mm Head Dia. Gas or Electric Driven | 0.1 | hrs |  | 0
0
C | Labor
| 1- Foreman | 0.1 | hrs |  | 0
| 2- Skilled laborer | 0.1 | hrs |  | 0
| 5- Common Laborer | 0.1 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
03410 (1)c | SMH, Ave. Depth = 1.67m (includes precast reinforced tapered chamber, precast reinforced concrete chamber rings, reinforced mass concrete surround, cast in place reinforced manhole base, and ladder rung) | ea. | 9
A | Materials
| Stainless Steel Ladder Rung, 20mm Dia. X 875mm | 0 | ea. |  | 0
| Reinforcing Steel, Grade 60 | 0 | kgs |  | 0
| GI Tie Wire Gauge #16 | 0 | kgs |  | 0
| Ready Mix Plain Concrete, 3000 psi, 3/4. 4"Slump, 28 days | 0 | cu.m |  | 0
| Form Oil (Used Crude Oil | 0 | gals |  | 0
| Rough Lumber | 0 | bdft. |  | 0
| Plywood, Ordinary, 12mm thk. | 0 | pcs |  | 0
| Common Wire Nails | 0 | kgs |  | 0
| Precast Concrete Tapered Chamber, 600mm Dia to 900mm Dia. (Ht= 773mm) | 9 | ea. |  | 0
| Precast Reinf. Concrete Chamber Rings, 900mm Dia., Ht=1000mm | 9 | ea. |  | 0
0
B | Equipment Rental @ 8 hrs/day
Fabrication and Installation of Reinforcing Steel
| 1- Steel Hoop Bar Bender, Elecric Driven, Mikuni Mdel MKC 32 | 8.12 | hrs |  | 0
| 1- Bar Cutter, Electric Driven, Mikuni Model MK45 | 8.12 | hrs |  | 0
Pouring of Concrete
| 1- Crane TM Hydraulic Telescopic 51-60 M.T., 280 Hp | 2.35 | hrs |  | 0
| 2- Concrete Vibrator, 32mm Head Dia Gas or Electric Driven | 2.35 | hrs |  | 0
For fitting and replacement of pre-cast conc. Chamber Rings
| 1- Crane Crawler, Mech. 2- 5 M.T., 100 Hp | 36 | hrs |  | 0
| Minor tools (5% Labor Cost) | 1 | lot |  | 0
0
C | Labor
| 1- Foreman | 20.17 | hrs |  | 0
Fabrication and Installation of Reinforcing Steel
| 4- Skilled Laborer | 8.12 | hrs |  | 0
| 2- Common Laborer | 8.12 | hrs |  | 0
Pouring of Concrete
| 2- Skilled Laborer | 2.35 | hrs |  | 0
| 2- Common Laborer | 2.35 | hrs |  | 0
Formworks Fabrication and Installation (for manhole base conc., surround and concrete adjustments)
| 4- Skilled Laborer | 9.7 | hrs |  | 0
| 1- Common Laborer | 9.7 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02530 (4) | Sewer Manhole Frames and Cover, 600mm Dia | ea. | 9
A | Materials
| Jaman CI Double Lid Manhole Cover and Frame, 600mm Dia. | 9 | ea. |  | 0
B | Equipment Rental @ 8 hrs/day
| Minor tools (5% of Labor) | 1 | lot |  | 0
C | Labor
| 1- Foreman | 36 | hrs |  | 0
| 2- Skilled Laborer | 36 | hrs |  | 0
| 1- Common Laborer | 36 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
V. | SEWAGE LIFT STATIONS |  |  |  | 0
V.A | SEWAGE LIFT STATION #2 (W-1 = 3.0M, W-2= 2.50M, L-1 = 6.0M, L-2 = 3.60M, D= 4.78M
| 1000mm x 1000mm Clear Opening (Access Door) with cover and Frame | ea. | 3
| 1000mm x 750mm Clear Opening (Access Door) with cover and Frame | ea | 3
| Access Manhole Cover, 6mm thk. Galvanized Checkered Steel Plate with Safety Hasp and Padlock with 2 units hinge welded to steel plate (600mm x 600mm) | ea | 3
| Ladder Rung, 20mm Dia. Galvanized Steel x 1400 mm | ea. | 16
A | Materials
| Checkered Plates | 298.15 | kgs |  | 0
| Angle Bars, 50mm x 50mm x 6mm thk. | 139.89 | kgs |  | 0
| Plain Round Bar, 20mm dia | 55.24 | kgs |  | 0
| Galvanizing Cost | 493.28 | kgs |  | 0
| Hinge, 4"x 4" | 18 | ea. |  | 0
0
B | Equipment Rental @ 8 hrs/day
C | Labor
| Labor cost (20% of Materials) | 1 | lot |  | 0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
| Emergency Overflow Pipe, 450mm Dia, PE80, SDR 13.6 | l.m | 1
| Gate Valve, 200mm Dia. | ea. | 3
| Check Valve, 200mm Dia. | ea. | 3
| Air Vent, 150mm Dia., includes 2- 90 deg. G.I. Elbow, Bolted Flange and Stainless Steel Wire Mesh insect Screen | ea. | 1
A | Materials
| 450mm dia. , PE80, SDR13.6 | 1 | l.m. |  | 0
| Gate Valve, 200mm dia. | 3 | ea. |  | 0
| Check Valve, 200mm dia. | 3 | ea. |  | 0
| G.I. Flange, 200mm dia. | 12 | ea. |  | 0
| G.I. Elbow, 150mm dia. | 4 | ea. |  | 0
| G.I. Flange, 150mm dia | 12 | ea. |  | 0
| Connection Bolt, 12mm dia. X 40mm | 24 | ea. |  | 0
| Collar Plate | 88.78 | kgs. |  | 0
0
B | Equipment Rental @ 8 hrs/day
C | Labor
| 1- Foreman | 181.49 | hrs |  | 0
| 1-Skilled Laborer | 181.49 | hrs |  | 0
| 1- Common Laborer | 181.49 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
| Polyethelene Pipe, PE 80, SDR 13.6, Delivery Pipe, 200mm | l.m | 17
A | Materials
| Polyethelene Pipe, 200mm Dia, PE 80 SDR 13.6 | 17 | l.m |  | 0
| Misc. (3%) | 1 | lot |  | 0
0
B | Equipment Rental @ 8 hrs/day
| Butt Fusion Machine ( 10% of Labor) | 1 | lot |  | 0
C | Labor
| 1- Foreman | 10.96 | hrs |  | 0
| 2- Skilled Laborer | 10.96 | hrs |  | 0
| 1- Common Laborer | 10.96 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
| Offset Pipe Clamp (50mm x 10mm thick Galvanized Flat Bar with 12mm & 15mm Dia. Steel Connection Bolts) | ea. | 9
| Pipe Support (50mm Dia G.I pPipe, Sch. 40 Pipe, with angle bar support, Ubolt, 10mm thick Base Plate with 4-15 mm Dia Expansion Shield Bolt) | ea. | 6
A | Materials
| Flat bar, 50mm x 10mm thk | 89.28 | kgs |  | 0
| Angle Bars, 100mm x 100mm x 10mm thk | 23.52 | kgs |  | 0
| Galvanizing Cost | 112.8 | kgs |  | 0
| Bolt 12mm Dia x 40mm | 36 | ea. |  | 0
| Base Plate | 29.4 | kgs |  | 0
| Expansion Shield Bolt | 24 | ea. |  | 0
| Miscellaneous (3%) | 1 | lot |  | 0
0
B | Equipment Rental @ 8 hrs/day
C | Labor
| (20% of Material Cost) | 1 | lot |  | 0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
| Collar Plate, 6mm thick | ea. | 3
| Polyethelene PE 80, Elbow, 90 Degree, 200mm Dia. | ea. | 4
| Polyethelene PE 80 Tee, 200 mm Dia. | ea. | 3
A | Materials
| Collar Plate, 6mm thick | 3 | ea. |  | 0
| Polyethylene Bend, 200mm dia. X 90 deg., (PE 80) SDR 13.6 | 4 | ea. |  | 0
| Polyethylene Tee, 200mm Dia, PE 80 SDR 21 | 3 | ea. |  | 0
| Miscellaneous (3%) | 1 | lot |  | 0
0
B | Equipment Rental @ 8 hrs/day
| Butt Fusion Joint using Butt Fusion Welding Machine( 10% of Labor) | 1 | lot |  | 0
C | Labor
| Foreman | 10 | hr |  | 0
| Skilled Laborer | 10 | hr |  | 0
| Common Laborer | 10 | hr |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
| Electrical Works (Power Supply for tapping Point - Lift Station No. 2), Including Lamp Post | lot | 1
A | Materials
Raceways:
| 20mm Dia. PVC | 3 | l.m. |  | 0
| 32mm Dia. PVC | 102 | l.m. |  | 0
| Conduit Fittings and Support | 1 | lot |  | 0
| Ductbank includes excavation, conduit, rebars ( if in vehicular lanes), spacers, warning tapes and backfill |  |  |  | 0
| Non-Vehicular Duct: |  |  |  | 0
| 1- 32mm Dia PVC | 99 | l.m. |  | 0
| Conductors and Grounding |  |  |  | 0
| 14mm2 THW | 306 | l.m. |  | 0
| 8mm2 THW | 6 | l.m. |  | 0
| 3.5 mm2 THW | 14 | l.m. |  | 0
| 5.5 mm2 TW (G) | 106 | l.m. |  | 0
| 3.5 mm2 TW (G) | 7 | l.m. |  | 0
| Wire Connectors | 1 | lot |  | 0
| Lighting Fixtures and Accs. |  |  |  | 0
| Type A, Enclosed and Gasketed Lighting Fixture, 2 x 36W, T8, Fluorescent Lamp complete with single arm and 3m steel pole. | 1 | set |  | 0
| Concrete Pedestal for Lighting Fixture | 1 | set |  | 0
| Exothermic Welding | 1 |  |  | 0
| Grounding Rod, 20mm x 3048mmL | 1 | set |  | 0
| Box, Devices and Equipment |  |  |  | 0
| FS Type Box, WP | 1 | ea. |  | 0
| Light Switch, 1-Gang, 1P, 15A, 230V, WP | 1 | set |  | 0
| Duplex Receptacle, 230V, 15A, 2P, Grounding Type, WP | 1 | set |  | 0
| PPLS2, 460V, 3Φ, 60 Hz, 10KAIC, NEMA 4X Enclosure, Surfaced Mtd, 3W + G | 1 | set |  | 0
| Main: 60AT/100AF, 2P, MCCB |  |  |  | 0
| Branches: |  |  |  | 0
| 1-20 AT/100AF, 2P, MCCB |  |  |  | 0
| 1-50 AT/100AF, 3P, MCCB |  |  |  | 0
| 1-0.5 KVA step down transformer 480-240V, 1Φ, 60 Hz |  |  |  | 0
| sub-branches: |  |  |  | 0
| 2- 15AT/100AF, 2P, MCCB |  |  |  | 0
| Miscellaneous and Consumable items | 1 | lot |  | 0
| Testing and Commissioning | 1 | lot |  | 0
0
B | Equipment Rental @ 8 hrs/day
C | Labor
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
SUBMERSIBLE NON-CLOG SEWAGE PUMP
| Submersible Non-Clog Sewage Pump complete with controller and accessories, 2 units on duty, 1 unit- standby, capacity = 750 GPM, TDH = 35 feet, 10 HP, 440V, 60 cycles, Phase 3, 1765 RPM (located at LS #2) | lot | 1
A | Materials
| Submersible Non-Clog Sewage Pump complete with controller and accessories, 2 units on duty, 1 unit- standby, capacity = 750 GPM, TDH = 35 feet, 10 HP, 440V, 60 cycles, Phase 3, 1765 RPM (located at LS #2) | 1 | set |  | 0
| Triplex Controller | 1 | set |  | 0
0
B | Equipment Rental @ 8 hrs/day
C | Labor
| 1- Foreman | 8 | hrs |  | 0
| 4- Skilled Laborer | 8 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
V.B | SEWAGE LIFT STATION #6 ( W-1 = 3.0m, W-2 = 2.5m, L-1 = 6.0m, L-2 = 3.60m, D= 5.33m
02301 (1) | Structure Excavation (LS#6) | cu.m | 234
A | Materials
B | Equipment Rental @ 8 hrs/day
| 1- E120B, Backhoe, CM Hyd. CAT, 0.57 cu.m., 84 Hp | 10.49 | hrs |  | 0
C | Labor
| 1- Foreman | 10.49 | hrs |  | 0
| 1- Common Laborer | 10.49 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02301 (2) | Structural Backfill (LS #6) |  | 63.3
A | Materials
B | Equipment Rental @ 8 hrs/day
| Engine Driven, 13.5 Hp., Vibratory Plate Compactor | 15.9 | hrs |  | 0
C | Labor
| 1- Foreman | 65.25 | hrs |  | 0
| 1- Common Laborer | 65.25 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
03307 (4) | Lean Concrete (LS#6) |  | 3.8
A | Materials
| Ready Mix Plain Concrete, 1500 psi, G-1, 4"Slump, 28 days | 3.8 | cu.m |  | 0
B | Equipment Rental @ 8 hrs/day
| 1- Crane TM Hydraulic Telescopic 51-60 M.T., 280 Hp | 0.1 | hrs |  | 0
| 2- Conc. Vibrator, 32mm Head Dia., Gas or Electric Driven | 0.1 | hrs |  | 0
0
C | Labor
| 1- Foreman | 0.1 | hrs |  | 0
| 2- Skilled Laborer | 0.1 | hrs |  | 0
| 5- Common Laborer | 0.1 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
03300 (1) | Reinforcing Steel (LS#6) |  | 6778
A | Materials
| Reinforcing Steel, Grade 60 | 6778 | kgs |  | 0
| G.I. Tie Wire, Gauge #16 | 135.56 | kgs |  | 0
0
B | Equipment Rental @ 8 hrs/day
| 1- Steel Hoop Bar Bender, Electric Driven, Mikuni Model MKC 32 | 36.15 | hrs |  | 0
| 1- Bar Cutter, Electric Driven, Mikuni Model MK45 | 36.15 | hrs |  | 0
| Electric Consumption | 72.3 | hrs |  | 0
| Minor Tools (5% of Labor) | 1 | lot |  | 0
0
C | Labor
| 1- Foreman | 36.15 | hrs |  | 0
| 4- Skilled Laborer | 36.15 | hrs |  | 0
| 2- Common Laborer | 36.15 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
03300 (2) | Structural Concrete, 3500 psi, includes formworks (LS#6) |  | 69.8
A | Materials
| Reasdy Mix Plain Concrete, 3500 psi, G-1, 4" Slump, 28 days | 65.92 | cu.m |  | 0
| Form oil (Used Crude Oil) | 8.7705 | gal |  | 0
| Rough Lumber | 2047.0347 | bf |  | 0
| Plywood, Ordinary, 12mm thk | 19.2951 | pc |  | 0
| Common Wire Nails | 1.5787 | kg |  | 0
| G.I Tie Wire Guage #16 | 1.9295 | kg |  | 0
0
B | Equipment Rental @ 8 hrs/day
| 1- Crane TM Hydraulic Telescopic 51-60 M.T., 280 Hp | 12.93 | hrs |  | 0
| 2- Concrete Vibrator, 32mm Head Dia. Gas or Elec. Driven | 12.93 | hrs |  | 0
0
C | Labor
| 1- Foreman | 12.93 | hrs |  | 0
| 2- Skilled Laborer | 12.93 | hrs |  | 0
| 1- Common Laborer | 12.93 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
02301 (3) | Disposal of excess materials (Lift Station |  | 170.7
A | Materials
B | Equipment Rental @ 8 hrs/day
| 10- Dump Truck, 12-15 cu.yd., 290 Hp | 1.35 | days |  | 0
| 1- 916, Loader, Wheel Type, CAT, 1.53 cu.m, 85 Hp | 1.35 | days |  | 0
0
C | Labor
| 3- Common Laborer | 1.35 | days |  | 0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
| 1000mm x 1000mm Clear Opening (Access Door) with cover and Frame | ea. | 3
| 1000mm x 750mm Clear Opening (Access Door) with cover and Frame | ea. | 3
| Access Manhole Cover, 6mm thk. Galvanized Checkered Steel Plate with Safety Hasp and Padlock with 2 units hinge welded to steel plate (600mm x 600mm) | ea. | 1
| Ladder Rung, 20mm Dia. Galvanized Steel x 1400 mm | ea. | 18
A | Materials
| Checkered Plates | 264.22 | kgs |  | 0
| Angle Bars, 50mm x 50mm x 6mm thk. | 117.26 | kgs |  | 0
| Plain Round Bar, 20mm dia | 62.1 | kgs |  | 0
| Galvanizing Cost | 443.58 | kgs |  | 0
| Hinge, 4"x 4" | 14 | ea. |  | 0
0
B | Equipment Rental @ 8 hrs/day
C | Labor
| Labor cost (20% of Materials) | 1 | lot |  | 0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
| Emergency Overflow Pipe, 450mm Dia, PE80, SDR 13.6 | l.m | 1
| Gate Valve, 200mm Dia. | ea. | 3
| Check Valve, 200mm Dia. | ea. | 3
| Air Vent, 150mm Dia., includes 2- 90 deg. G.I. Elbow, Bolted Flange and Stainless Steel Wire Mesh insect Screen | ea. | 1
| 450mm dia. , PE80, SDR13.6 | 1 | l.m. |  | 0
| Gate Valve, 200mm dia. | 3 | ea. |  | 0
| Check Valve, 200mm dia. | 3 | ea. |  | 0
| G.I. Flange, 200mm dia. | 12 | ea. |  | 0
| G.I. Elbow, 150mm dia. | 4 | ea. |  | 0
| G.I. Flange, 150mm dia | 12 | ea. |  | 0
| Connection Bolt, 12mm dia. X 40mm | 24 | ea. |  | 0
| Collar Plate | 88.78 | kgs. |  | 0
0
B | Equipment Rental @ 8 hrs/day
C | Labor
| 1- Foreman | 181.49 | hrs |  | 0
| 1-Skilled Laborer | 181.49 | hrs |  | 0
| 1- Common Laborer | 181.49 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
| Polyethelene Pipe, PE 80, SDR 13.6, Delivery Pipe, 200mm |  | 23.2
A | Materials
| Polyethelene Pipe, 200mm Dia, PE 80 SDR 13.6 | 23.2 | l.m |  | 0
| Misc. (3%) | 1 | lot |  | 0
0
B | Equipment Rental @ 8 hrs/day
| Butt Fusion Machine ( 10% of Labor) | 1 | lot |  | 0
C | Labor
| 1- Foreman | 14.96 | days |  | 0
| 2- Skilled Laborer | 14.96 | days |  | 0
| 1- Common Laborer | 14.96 | days |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
| Offset Pipe Clamp (50mm x 10mm thick Galvanized Flat Bar with 12mm & 15mm Dia. Steel Connection Bolts) | ea. | 9
| Pipe Support (50mm Dia G.I pPipe, Sch. 40 Pipe, with angle bar support, Ubolt, 10mm thick Base Plate with 4-15 mm Dia Expansion Shield Bolt) | ea. | 6
A | Materials
| Flat bar, 50mm x 10mm thk | 89.28 | kgs |  | 0
| Angle Bars, 100mm x 100mm x 10mm thk | 23.52 | kgs |  | 0
| Galvanizing Cost | 112.8 | kgs |  | 0
| Bolt 12mm Dia x 40mm | 36 | ea. |  | 0
| Base Plate | 29.4 | kgs |  | 0
| Expansion Shield Bolt | 24 | ea. |  | 0
| Miscellaneous (3%) | 1 | lot |  | 0
0
B | Equipment Rental @ 8 hrs/day
C | Labor
| (20% of Material Cost) | 1 | lot |  | 0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
| Collar Plate, 6mm thick | ea. | 3
| Polyethelene PE 80, Elbow, 90 Degree, 200mm Dia. | ea. | 4
| Polyethelene PE 80 Tee, 200 mm Dia. | ea. | 3
A | Materials
| Collar Plate, 6mm thick | 3 | ea. |  | 0
| Polyethylene Bend, 200mm dia. X 90 deg., (PE 80) SDR 13.6 | 4 | ea. |  | 0
| Polyethylene Tee, 200mm Dia, PE 80 SDR 21 | 3 | ea. |  | 0
| Miscellaneous (3%) | 1 | lot |  | 0
0
B | Equipment Rental @ 8 hrs/day
| Butt Fusion Joint using Butt Fusion Welding Machine( 10% of Labor) | 1 | lot |  | 0
C | Labor
| Foreman | 10 | hr |  | 0
| Skilled Laborer | 10 | hr |  | 0
| Common Laborer | 10 | hr |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
| Electrical Works (Power Supply for tapping Point - Lift Station No. 6), Including Lamp Post |  | 1
A | Materials
Raceways:
| 20mm Dia. PVC | 3 | l.m. |  | 0
| 40mm Dia. PVC | 102 | l.m. |  | 0
| Conduit Fittings and Support | 1 | lot |  | 0
| Ductbank includes excavation, conduit, rebars ( if in vehicular lanes), spacers, warning tapes and backfill |  |  |  | 0
| Non-Vehicular Duct: |  |  |  | 0
| 1- 40mm Dia PVC | 99 | l.m. |  | 0
| Conductors and Grounding |  |  |  | 0
| 22mm2 THW | 306 | l.m. |  | 0
| 8mm2 THW | 6 | l.m. |  | 0
| 3.5 mm2 THW | 14 | l.m. |  | 0
| 8 mm2 TW (G) | 106 | l.m. |  | 0
| 3.5 mm2 TW (G) | 7 | l.m. |  | 0
| Wire Connectors | 1 | lot |  | 0
| Lighting Fixtures and Accs. |  |  |  | 0
| Type A, Enclosed and Gasketed Lighting Fixture, 2 x 36W, T8, Fluorescent Lamp complete with single arm and 3m steel pole. | 1 | set |  | 0
| Concrete Pedestal for Lighting Fixture | 1 | set |  | 0
| Exothermic Welding | 1 |  |  | 0
| Grounding Rod, 20mm x 3048mmL | 1 | set |  | 0
| Box, Devices and Equipment |  |  |  | 0
| FS Type Box, WP | 1 | ea. |  | 0
| Light Switch, 1-Gang, 1P, 15A, 230V, WP | 1 | set |  | 0
| Duplex Receptacle, 230V, 15A, 2P, Grounding Type, WP | 1 | set |  | 0
| PPLS2, 460V, 3Φ, 60 Hz, 10KAIC, NEMA 4X Enclosure, Surfaced Mtd, 3W + G | 1 | set |  | 0
| Main: 60AT/100AF, 2P, MCCB |  |  |  | 0
| Branches: |  |  |  | 0
| 1-20 AT/100AF, 2P, MCCB |  |  |  | 0
| 1-50 AT/100AF, 3P, MCCB |  |  |  | 0
| 1-0.5 KVA step down transformer 480-240V, 1Φ, 60 Hz |  |  |  | 0
| sub-branches: |  |  |  | 0
| 2- 15AT/100AF, 2P, MCCB |  |  |  | 0
| Miscellaneous and Consumable items | 1 | lot |  | 0
| Testing and Commissioning | 1 | lot |  | 0
0
SUBMERSIBLE NON-CLOG SEWAGE PUMP
| Submersible Non-Clog Sewage Pump complete with controller and accessories, 2 units on duty, 1 unit- standby, capacity = 800 GPM, TDH = 35 feet, 15 HP, 440V, 60 cycles, Phase 3, 1761 RPM (located at LS #6) | lot | 1
A | Materials
| Submersible Non-Clog Sewage Pump complete with controller and accessories, 2 units on duty, 1 unit- standby, capacity = 750 GPM, TDH = 35 feet, 10 HP, 440V, 60 cycles, Phase 3, 1765 RPM (located at LS #6) | 1 | set |  | 0
| Triplex Controller | 1 | set |  | 0
0
B | Equipment Rental @ 8 hrs/day
C | Labor
| 1- Foreman | 8 | hrs |  | 0
| 4- Common Laborer | 8 | hrs |  | 0
0
D | Estimated Direct Cost(EDC)=A+B+C |  |  |  | 0
E | Indirect Cost/Mark-Up
| Overhead, Contingencies & Miscelaneous @ 12% of EDC |  |  |  | 0
| Profit @ 8% of EDC |  |  |  | 0
| Sub-Total |  |  |  | 0
F | 5% Value Added Tax of D + E |  |  |  | 0
G | Total Cost = D + E + F |  |  |  | 0
H | Unit Cost
PROJECT | : PROPOSED SEWER PIPE LINE REHABILITATION ALONG 5TH STREET AND CONSTRUCTION OF
LIFT STATIONS 1 AND 2 IN MEZ
LOCATION | : MACTAN ECONOMIC ZONE, LAPU-LAPU CITY
Date | :
SUMMARY:
ITEM # | DESCRIPTION |  | UNIT | QUANTITY | AMOUNT | REMARKS
I. | GENERAL REQUIREMENTS |  | LOT | 1 | 0
II. | REMOVAL AND RESTORATION WORKS |  | LOT | 1 | 0
III. | SEWER PIPE LINES |  | LOT | 1 | 0
IV. | SEWER MANHOLE |  | UNITS | 9 | 0
V. | LIFT STATIONS 5 AND 6 |  | UNITS | 2 | 0
| ESTIMATED TOTAL PROJECT COST (PHp) = |  |  |  | 0
Prepared : |  | Checked and Verified:
LOUIE EVANS E. ESOTO |  | ISAGANI B. PULVERA
Division Chief II, EMD |  | Department Manager, Operations
Reference: |  | Approved:
MEZ Master Drainage (Storm and Sewer) System/Design
prepared by TCGI Engineers
Bgen. CHARITO B. PLAZA, MNSA PhD.
Director General and Zone Administrator
for MEZ and VisMin SEZ's