## POW (BLDG. 3) BLANK
Republic of the Philippines
PHILIPPINE ECONOMIC ZONE AUTHORITY
Bldg. 3 DOE-PNOC Complex Energy Center, Rizal Drive, BGC Taguig City
Tel. No. 551-3451 loc. 338 TeleFax No. 551-34-45
PROGRAM OF WORKS
NAME/LOCATION OF PROJECT: |  |  |  |  | Date |  | :
[5 empty] | Appropriation |  | :
PROPOSED STORAGE AREAS AND TRANSFER OF CLINIC AND AT BLDG. 3 Ground Floor, Building 3, PNOC-EDC Complex, 34th Street, Bonifacio Global City, Taguig City |  |  |  |  | Source of Funds |  | :
[5 empty] | Calendar Days to Complete |  | : | 20 CALENDAR DAYS (PHASE I)
[5 empty] | Desirable Starting Date |  | :
[5 empty] | Classification |  | :
ITEM NO. | JOB DESCRIPTION |  | % of Total |  | UNIT | QTY. | UNITT COST |  | TOTAL
ARCHITECTURAL/ CIVIL WORKS
BUILDING 3 (Ground Floor)
PART I | MOBILIZATION/ DEMOBILIZATION
| Mobilization/ Demobilization |  | 0.9901% | 0% | L.s. | 1 | 3782.12 |  | 3782.12
| Removal of existing Drywalls and Doors |  | 1.367% | 0% | L.s. | 1 | 5222.4 |  | 5222.4
|  | Total of Part I | 2.357% | [5 empty] | 9004.52
PART II | CAPENTRY WORKS
| Installation of Drywall Partition |  | 7.063% | 0% | sq.m. | 32.34 | 834.2498 |  | 26979.64
| Provision of Fixed Glass Window |  | 1.105% | 0% | sq.m. | 3 | 1407.44 |  | 4222.32
|  | Total of Part II | 8.168% | [5 empty] | 31201.96
PART III | TILE WORKS
| Removal of Existing Vinyl Tiles |  | 6.281% | 0% | sq.m. | 725.46 | 33.0719 |  | 23992.32
| Installation of 6" X 36" Vinyl Wood Tiles |  | 73.98% | 0% | sq.m. | 725.46 | 389.5238 |  | 282583.9
|  | Total of Part III | 80.26% | [5 empty] | 306576.22
PART IV | PAINTING WORKS
| Painting of Wood Surface |  | 4.612% | 0% | sq.m. | 129.21 | 136.3467 |  | 17617.36
| Painting of Masonry Surface |  | 4.606% | 0% | sq.m. | 151.944 | 115.7944 |  | 17594.26
|  | Total of Part IV | 9.218% | [5 empty] | 35211.62
| Total of Ground Floor |  | 100% | [5 empty] | 381994.32
SUB-TOTAL | [8 empty] | 381994.32
ITEM NO. | JOB DESCRIPTION |  | % of Total |  | UNIT | QTY. | UNITT COST |  | TOTAL
ELECTRICAL WORKS
PART I | PANEL BOARD, FEEDER AND SUBMAIN FEEDER (Reuse Existing)
| Panel P3-G |  | 16.45% |  | assy | 1 | 10000 |  | 10000
Main : 1-100AF/100AT, 3Ø+G, 230V, 60Hz, 18kaic
Branches:
20-50AF/20AT, 2P, 230V, 10kaic
| Kw-Hr Meter, 100A, 230-volt, 3-wire, 60Hz |  | 3.207% |  | pcs. | 1 | 1950 |  | 1950
| 30mm² THHN |  | 7.697% |  | lm. | 30 | 156 |  | 4680
| 8.0mm² THHN |  | 0.8552% |  | lm. | 10 | 52 |  | 520
| 32mmØ EMT Pipe |  | 4.276% |  | lm. | 10 | 260 |  | 2600
| 32mmØ EMT Clamp |  | 0.5345% |  | pcs. | 10 | 32.5 |  | 325
| 32mmØ EMT Coupling |  | 0.5345% |  | pcs. | 10 | 32.5 |  | 325
| 32mmØ EMT Connector Set Screw |  | 0.5345% |  | pcs. | 10 | 32.5 |  | 325
| 32mmØ Locknut & Bushing |  | 0.4276% |  | pcs. | 10 | 26 |  | 260
| Total of Part I |  | 34.51% | [5 empty] | 20985
PART II | SMALL POWER SYSTEM (Reuse Existing)
| Duplex convenience outlet |  | 16.03% |  | pcs. | 65 | 150 |  | 9750
| Single convenience outlet (Emergency Light) |  | 1.233% |  | pcs. | 5 | 150 |  | 750
| Utility box |  | 1.283% |  | pcs. | 30 | 26 |  | 780
| Junction box |  | 0.6414% |  | pcs. | 15 | 26 |  | 390
| Square box |  | 0.9621% |  | pcs. | 15 | 39 |  | 585
| Plastic Moulding |  | 2.886% |  | lm. | 45 | 39 |  | 1755
| 25mmØ PVC Pipe |  | 1.122% |  | lm. | 15 | 45.5 |  | 682.5
| 25mmØ PVC Adapter |  | 0.9621% |  | pcs. | 30 | 19.5 |  | 585
| 25mmØ Locknut & Bushing |  | 1.283% |  | pcs. | 30 | 26 |  | 780
| 25mmØ Flexible Metal Conduit |  | 1.924% |  | lm. | 30 | 39 |  | 1170
| 25mmØ Angle Connector |  | 1.283% |  | pcs. | 30 | 26 |  | 780
| 25mmØ Conduit Clamp |  | 1.283% |  | pcs. | 30 | 26 |  | 780
| Tox and Screw |  | 0.6414% |  | pcs. | 60 | 6.5 |  | 390
| 2.0mm² THHN |  | 3.848% |  | lm. | 150 | 15.6 |  | 2340
| Total of Part II |  | 35.39% | [5 empty] | 21517.5
PART III | LIGHTING SYSTEM (Reuse Existing)
| Relocation of Lighting Fixture including rewiring |  | 4.934% |  | nos. | 20 | 150 |  | 3000
| 15mmØ PVC Pipe |  | 1.924% |  | lm. | 30 | 39 |  | 1170
| 15mmØ Angle Connector |  | 0.8552% |  | pcs. | 20 | 26 |  | 520
| Junction box |  | 0.4276% |  | nos. | 10 | 26 |  | 260
| 1-gang Switch |  | 0.8979% |  | nos. | 7 | 78 |  | 546
| 3-gang Switch |  | 0.1283% |  | nos. | 1 | 78 |  | 78
| Plastic Moulding |  | 0.6414% |  | lm. | 10 | 39 |  | 390
| 20mmØ Flexible Metal Conduit |  | 0.6414% |  | lm. | 10 | 39 |  | 390
| 20mmØ Conduit Clamp |  | 0.4276% |  | nos. | 10 | 26 |  | 260
| 20mmØ Locknut & Bushing |  | 0.4276% |  | pcs. | 10 | 26 |  | 260
| Utility box |  | 0.4276% |  | nos. | 10 | 26 |  | 260
| Emergency Light / Exit Light |  | 16.45% |  | nos. | 5 | 2000 |  | 10000
| Plastic Moulding |  | 1.283% |  | lm. | 20 | 39 |  | 780
| Utility Box |  | 0.6414% |  | nos. | 10 | 39 |  | 390
| Total of Part III |  | 30.1% | [5 empty] | 18304
| Relocated / Additional FCU/ACU |  | See Mechanical Estimate
| Total of Ground Floor |  | 100% | [5 empty] | 60806.5
SUB-TOTAL | [8 empty] | 60806.5
ITEM NO. | JOB DESCRIPTION |  | % of Total |  | UNIT | QTY. | UNITT COST |  | TOTAL
MECHANICAL WORKS
PART I | CLEANING, INSTALLATION AND TESTING OF A/C
| Window Type Aircon, 1.5 Hp |  | 57.48% |  | nos. | 1 | 33540 |  | 33540
| Floor mounted - 3TR (Re-Used from 3F Clinic) |  | 2.571% |  | nos. | 1 | 1500 |  | 1500
| Total of Part I |  | 60.05% | [5 empty] | 35040
PART II | SUPPLY AND INSTALLATION OF NEW COPPER PIPING WORKS INCLUDING INSULATION, FITTINGS, ACCESSORIES & CONSUMABLES.
| Copper Pipe "L", 3/4" Ø |  | 3.583% |  | m. | 4 | 522.6 |  | 2090.4
| Copper Pipe HD "L", 3/8" Ø |  | 1.301% |  | m. | 4 | 189.8 |  | 759.2
| Copper Elbow, 3/4" Ø |  | 0.508% |  | pcs. | 4 | 74.1 |  | 296.4
| Copper Elbow, 3/8" Ø |  | 0.2674% |  | pcs. | 4 | 39 |  | 156
| Rubber pipe Insulation, 3/4" Ø |  | 0.303% |  | m. | 4 | 44.2 |  | 176.8
| Rubber pipe Insulation, 3/8" Ø |  | 0.1961% |  | m. | 4 | 28.6 |  | 114.4
| Refrigerant (FREON) |  | 4.679% |  | kg. | 6 | 455 |  | 2730
| Total of Part II |  | 10.84% | [5 empty] | 6323.2
PART III | CONDENSATE DRAIN
FCU/ACCU (SPLIT TYPE)
| PVC Pipe, 25mm dia. |  | 0.8377% |  | m. | 8 | 61.1 |  | 488.8
| Elbow, 25mm dia. |  | 0.1426% |  | m. | 4 | 20.8 |  | 83.2
| Pipe Insulation, 25mm dia. |  | 0.5614% |  | m. | 4 | 81.9 |  | 327.6
| Total of Part III |  | 1.542% | [5 empty] | 899.6
ELECTRICALS
PART IV | Dismantling, Testing, Installing of Existing Circiut Breaker
| FCU (SPLIT TYPE), CB 40 AMP, 230/1/60 (re-used) |  | 0.6855% |  | nos. | 1 | 400 |  | 400
| THHN Wire, 3.5mm² |  | 0.3565% |  | m. | 8 | 26 |  | 208
| THHN Wire, 2.0mm² |  | 0.1248% |  | m. | 4 | 18.2 |  | 72.8
| 15mm Ø PVC |  | 0.2941% |  | m. | 4 | 42.9 |  | 171.6
| Ceiling Exhaust Fan, 200 LPS |  | 2.674% |  | nos. | 1 | 1560 |  | 1560
| Supply Ceiling Diffuser with OBVD, 400 X 400 |  | 0.6684% |  | pcs. | 1 | 390 |  | 390
| Flexible Duct, 400 Ø |  | 8.823% |  | m. | 4 | 1287 |  | 5148
| Vent Cap, 200 Ø |  | 2.807% |  | pcs. | 1 | 1638 |  | 1638
| Total of Part IV |  | 16.43% | [5 empty] | 9588.4
OTHERS
PART V | Consumables: (As per recon-Breakdown)
| Vinyl Tape |  | 0.2228% |  | roll | 1 | 130 |  | 130
| Map Gas |  | 2.228% |  | nos. | 2 | 650 |  | 1300
| Silver Rod |  | 0.1337% |  | nos. | 6 | 13 |  | 78
| Oxy-Ace |  | 3.119% |  | sets | 1 | 1820 |  | 1820
| Nitrogen |  | 1.225% |  | tanks | 1 | 715 |  | 715
| Filter Drier- 3/8" |  | 1.114% |  | nos. | 1 | 650 |  | 650
| Fire Rated Sealant |  | 0.557% |  | nos. | 1 | 325 |  | 325
| Total of Part V |  | 8.6% | [5 empty] | 5018
PART VI | TESTING & COMMISSIONING |  | 1.714% |  | nos. | 1 | 1000 |  | 1000
| Total of Part VI |  | 1.714% | [5 empty] | 1000
PART VII | CHIPPING WORKS |  | 0.8226% |  | nos. | 2 | 240 |  | 480
| Total of Part VII |  | 0.8226% | [5 empty] | 480
| Total of Ground Floor |  | 100% | [5 empty] | 58349.2
SUB-TOTAL | [8 empty] | 58349.2
SUMMARY |  |  | GROUND FLOOR | [5 empty] | AMOUNT
Architectural/ Civil Works |  |  | 381994.32 | [5 empty] | 381994.32
Electrical Works |  |  | 60806.5 | [5 empty] | 60806.5
Mechanical Works |  |  | 58349.2 | [5 empty] | 58349.2
TOTAL DIRECT COST | [8 empty] | 501150.02
BREAKDOWN OF ESTIMATED EXPENDITURES |  |  | % OF TOTAL | [5 empty] | AMOUNT
I - ESTIMATED CONTRACT COST
A. | DIRECT COST: |  | 76.4% | [5 empty] | 501150.02
B. | INDIRECT COST:
| 1. Overhead Contingency, Miscellaneous (OCM) - 15% |  | 11.25% | [5 empty] | 73821.83 | 123558.62
| 2. Profit - 10% |  | 7.582% | [5 empty] | 49736.79
| 3. Value Added Tax (VAT) - 5% |  | 4.762% | [5 empty] | 31235.43 | 154794.05
TOTAL ESTIMATED PROJECT COST |  |  | 100% | [5 empty] | 655944.07
Prepared by:
SITTIE AYENAH D.MICAWAYAN
Project Evaluation Officer II, SuSD (Civil)
Checked and Reviewed by:
| VIENNA JESSICA A. CANDELARIO |  | RJAY M. BINARAO
| Architect III, SuSD |  | Project Evaluation Officer II, SuSD (Mechanical)
MARK ANTHONY A. SANTOS
Engineer II, SuSD (Electrical)
Recommending Approval: |  |  | APPROVED: | APPROVED:
| FLORIANO D. SARMIENTA |  | DOMINADOR A. ZAGADA JR.
| Division Chief III, SuSD |  | Department Manager III, SuSD