For Application of Permits under the National Building Code, submitted plans and documents must contain the following;

- Any person desiring to obtain a building permit and any ancillary/accessory permit/s together with a Building Permit shall file applications/s therefore on the prescribed application forms.

- Together with the accomplished prescribed application form/s, the following shall be submitted to the Office of the Building Official;

  - In case the applicant is not registered owner of the lot, in addition to the above; duly notarized copy of the Contract of Lease, or Deed of Absolute Sale.

- Three (3) sets of design plans, specifications and other documents as listed in the list of requirements prepared, signed and sealed over the printed names of the duly licensed and registered professionals and the owner:

  - Geodetic Engineer, in case of lot survey plans;

  - Architect, in case of architectural documents; in case of architectural interior/interior design documents, either an architect or interior designer may sign;

  - Civil Engineer, in case of civil/structural documents;

  - Professional Electrical Engineer , in case of  electrical documents;

  - Professional Mechanical Engineer, in case of mechanical documents;

  - Sanitary Engineer, in case of sanitary documents;

  - Master Plumber, in case of plumbing documents;

  - Professional Electronics Engineer, in case of electronics documents.

- Architectural Documents

  - Architectural Plans/Drawings

i. Site Development Plan showing technical description, boundaries, orientation and  position of proposed building/structure  in relation  to the lot, existing or proposed access road and driveways and existing public utilities/services. Existing buildings within and  adjoining  the lot shall be  hatched  and distances  between the proposed and existing buildings shall be indicated.

- Perspective drawn at a convenient scale and taken from a vantage point (bird’s eye view or eye level).

- Floor Plans drawn at a convenient scale of not less than 1:100 showing: gridlines, dimensions, complete identification or rooms or functional spaces.

- Elevations, at least four (4), same scale as floor plans showing: gridlines, natural ground to finish grade elevations; floor to floor heights; doors and window marks, type of material and exterior finishes; adjoining existing structure/s,  if any, shown in single hatched lines.

- Sections, at least  two (2), showing: gridlines; natural ground and finish levels; outline of cut and visible structural parts; doors and windows properly labeled reflecting the direction  of opening; partitions; built-in cabinets, etc.; identification or rooms and functional spaces  cut by section lines.

- Reflected ceiling plan showing: design, location, finishes and specifications of materials, lighting fixtures, diffusers, decorations, air conditioning exhaust and return grills, sprinkle nozzles, if any, at scale of at least 1:100.

- Details, in the form of plans, elevations/sections:

    - Accessible ramps

    - Accessible stairs

    - Accessible lifts/elevators

    - Accessible entrances, corridors and walkways

    - Accessible functional areas/comfort rooms

    - Accessible switches, controls

    - Accessible drinking fountains

    - Accessible public telephone books

    - Accessible  audio visual  and automatic alarm system

    - Accessible access symbols and directional signs

    - Reserve parking for disabled persons

    - Typical wall/bay sections from ground to roof

    - Stairs, interior and exterior

    - Fire escapes/exits

    - Built-in cabinets, counters and fixed furniture

    - All types of partitions

- Schedule of Doors and Windows showing their types, designations/marks, dimensions, materials, and number of sets.

- Schedule of Finishes, showing in graphis form: surface finishes specified for floors, ceilings, walls and base board trims for all building spaces per floor level.

- Details of other major Architectural Elements.

  - Architectural Interiors/Interior Design

i.     Space Plan/s  or layout/s of architectural interior/s.

ii.     Architectural interior perspective/s.

iii.        Furniture/furnishing/equpment/process layout/s.-

      - indicating width of corridors/walkways

      - distance between production equipment

      - back to back   distances  between chairs when seats are occupied (for IT companies)

iv.     Access plan/s, parking plan/s and the like.

- Detail  design of major architectural interior elements.

- Plan and  layout of interior, wall partitions, furnishing, furniture, equipment/appliances at a scale of at least 1:100.

- Interior wall elevations showing:  finishes, switches, doors and convenience outlets, cross window sections with interior perspective as viewed from the main entrance at scale of at least 1:100.

- Floor/ceiling/wall patterns and finishing details.

- List of materials used.

- Cost Estimates.

  - Plans and specific locations of all accessibility facilities of scale at least 1:100.

  - Detailed design of all such accessibility facilities outside and around buildings/structuresincluding parking areas, and their safety requirements all at scale of 1:50 or any convenient scale.

  - Fire Safety Documents

- Layout plan of each floor indicating the fire evacuation route to      safe dispersal areas, standpipes with fire hose, fire extinguishers, first aid kits/cabinets, fire alarm, fire operations room, emergency lights, signs, etc.

  - Details of windows, fire exits with grilled windows and ladders.

  - Details of fire-resistive construction of enclosures for vertical openings.

  - Details of fire-resistive construction materials and interior  decorative materials with fire-resistive/fire-retardant/fire-spread ratings.

  - Other Related Documents

- Civil/Structural Documents

  - Site Development Plan

Site Development Plan showing technical descriptipon, boundaries, orientation and position of proposed  non-architectural horizontal structure  such as:  sewerage treatment  plan (STP), silos, elevated tanks, towers, fences, etc. building/structure in relation to the  lot, existing or proposed access road and driveways and existing public utilities/services. Existing buildings within and adjoining the lot shall be hatched and distances between the proposed and exiting buildings shall be indicated.

  - Structural  Plans

  - Foundations Plans and Details at scale of not less than 1:100.

  - Floor/Roof Framing Plans and Details at scale of not less than1:100.

  - Details and Schedules of structural and  civil works elements  including those for deep wells, water reservoir, pipe lines and sewer system.

  - Structural  Analysis and Design for all buildings/structures except  for one storey and single detached building/structure with a total floor area of 20.00 sq. meter or less.

  - Boring and Load Tests

Buildings and structures of three (3) storeys and higher, boring tests and, if necessary, load tests shall  be  required in accordance  with the applicable  latest approved provisions of the National Structural Code of the Philippines (NSCP).  However,  adequate soil exploration (including boring and load  tests)  shall also be required  for lower buildings/structures at area with potential geological/geotechnical  hazards.  The written  report of the civil/geothechnical engineer including but not limited  to the design bearing  capacity as well as the result of tests shall be  submitted together with  the other requirements in the  application for building permit.  Boring test or load test shall be done according to  the applicable provisions of the NSCP which set forth requirements governing excavation, grading and earthwork construction,  including fills and embankment for any building/structure and for foundation and retaining structures.

  - Seismic Analysis

  - Other related documents

- Electrical Documents

Electrical Plans and technical specifications containing the following:

  - Locations and Site Plans

  - Legend or Symbols

  - General Notes and/or  Specifications

  - Electrical Layout

  - Schedule of Loads, Transformers, Generating/UPS Units (Total kVA for each of the preceding  items shall be indicated in the schedule)

  - Design Analysis

  - Single Line Diagram or Riser Diagram

- Mechanical Documents

  - Location Plan and Key Plan

  - General Layout Plan for each floor, drawn to a scale of not less than 1:00, indicating the equipment  in heavier lines than the building outline with names of machinery and corresponding brake horsepower shall be indicated.

  - Longitudinal and Transverse Sections  of building and equipment base on the section lines drawn to scale of at least 1:100 showing  inter-floor relations and defining the manner of support of machines/equipment. Sections shall run longitudinally and transversely through the building length or width other than particularly  detailed section   for each machinery/equipment (fired and unfired pressure vessel, elevator, escalator, dumbwaiter, etc.).

  - Isometric drawing of gas, fuel, oil system showing: Assembly of pipes on racks and supports, Legend and General  Notes, Capacity per outlet and Complete individual piping system.

  - Plans drawn to scale of 1:100 indicating location of store rooms, fuel tanks, fire extinguishing systems,  fire doors, fire escape  ladders and other protective facilities.

  - Detailed drawings of all duct works installations, indicating dampers, controls, filters, fireproofing, acoustical and thermal insulation.

  - Detailed Plans of machinery foundations and supports drawn to scale of at least 1:50.

  - Detailed Plans of boilers and pressure vessels with a working pressure  of  above 70 kPa regardless of kilowatt rating.

  - Design Computations and Detailed Plans of elevators, escalators, and the like drawn to scale of 1:50.

  - For all installations, additions or alterations involving  machinery of at most 14.9 kW, the signature of a duly licensed Mechanical Engineer shall be sufficient except fired and unfired pressure vessels, elevators, escalators, dumbwaiters, central/split/packaged type air conditioners and piping systems  of steam, gas or fuels.

  - Detailed plans of fire suppression systems, location of automatic and smoke detectors and alarm  and initiating devices use to monitor the conditions that are essential for the proper operation including  switches for the position of gate valves as well as alert and evacuation signals; the detailed layout of the entire safe area to be protected and heat/smoke ventilation system.

- Sanitary Documents

  - For deepwell, water purification plants, water collection and distribution systems, reservoirs, drainage and sewer systems, sewage treatment plants, malaria control structures, and sewage disposal system.

i.    Location Plan and Site Plan

  - Detailed Plan  and Layout drawings of minimum scale of 1:100

  - Design Analysis and Technical specification

  - Cost Estimates

  - For pest and  vermin control, sanitation, and pollution control facilities:

  - Detailed plan, layout and drawing of abatement and control device of minimum scale 1:100.

  - Design analysis and technical specification

  - Cost Estimates

- Plumbing Documents

For all plumbing installations, additions and/or alterations involving hot and cold water supply, fixtures, sewage drainage and vent system,  storm drainage and sewerage system within or  adjacent  to the building:

  - Location Plan and Site  Plan of minimum scale  1:2000

  - Plumbing Plans, Layouts and details, of minimum scale 1:50

  - Legend and General Notes

  - Isometric drawings of the systems

  - Design analysis and technical specifications

  - Cost Estimates

- Electronics Documents

Electronic plans and technical specifications for wired or wireless telecommunications systems, broadcasting systems, including radio and TV broadcast equipment for commercial and training purposes, cable or wireless television systems, information technology (IT) systems, security and alarm systems, electronic fire alarm systems, sound-reinforcement  systems, navigational aids and controls, indoor   and   outdoor signages, electronically-controlled conveyance systems, electronics/computerized process controls and automation systems, building automation, management and control systems, including but not limited to the following:

  - General layout plans and legends

  - Single line diagram

  - Riser diagram

  - Isometry of the system

  - Equipment specifications

  - Design analysis, as applicable

  - Cost estimates

- Clearances from Other Agencies

  - Whenever necessary, written clearances shall be obtained from the various authorities exercising and enforcing regulatory functions affecting buildings/structures. Application for said clearances shall be requested by the owner/applicant  and  failure to receive  reply within seven (7) days from receipt of the application for building permit shall be sufficient not to cause further delay in processing the building permit application by the Building Official. Such  authorities who are  expected to enforce their own regulations are:

i.    Air Transportation Office (ATO)

ii.   Department of Environment and Natural Resources (DENR)

iii.  Laguna lake Development Authority (LLDA)

iv. National Water Resources Board  (NWRB)